|  |  |  |
| --- | --- | --- |
| COO Logo Building Dept | **CITY OF ONTARIO** **BUILDING DEPARTMENT**303 East B StreetOntario, CA 91764Ph (909)395-2023, Fax (909)395-2180 | **INFORMATION BULLETIN****104**Effective: 1 / 1 / 2023 Revised: - / - / - |
|  |
| **PLUMBING FIXTURE FLOW RATES** **FOR RESIDENTIAL** |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Plumbing fixtures (water closets and urinals) and fittings (faucets, showerheads, and pre-rinse spray valves) installed in residential buildings shall comply with the following requirements of 2022 *CAL*Green effective 1/1/2023 Sections 4.303.1.1 through 4.303.1.4.5 and 2022 California Plumbing Code effective 1/1/2023 Sections 411.2, 412.1, 417.1, and 420.2:

| **PLUMBING FIXTURES & FITTINGS** | **MAXIMUM ALLOWABLE FLOW RATE** |
| --- | --- |
| Water closets  | 1.28 gallons/flush1 |
| Showerheads | 1.8 gpm @ 80 psi |
| Kitchen faucets | 1.8 gpm @ 60 psi2 |
| Residential lavatory faucets | 1.2 gpm @ 60 psi max, 0.8 gpm @ 20 psi min. |
| Lavatory faucets in common & public use areas | 0.5 gpm @ 60 psi |
| Metering faucets | 0.20 gallons/cycle |
| Urinals | 0.125 gallons/flush for wall-mounted type and0.5 gallons/flush for floor-mounted or other type  |
| Pre-rinse spray valves (with an integral automatic shutoff) | 1.00 gpm for Product Class 1 (≤ 5.0 ozf)1.20 gpm for Product Class 2 (> 5.0 ozf and ≤ 8.0 ozf)1.28 gpm for Product Class 3 (> 8.0 ozf) |

1 Water closets types are either flush tank, flushometer tank, or flushometer valve and include single or dual flush toilets.Single Flush Toilets: The effective flush volume shall not exceed 1.28 gallons (4.8 liters). The effective flush volume is the average flush volume when tested in accordance with ASME A112.19.2.Dual Flush Toilets: The effective flush volume shall not exceed 1.28 gallons (4.8 liters). The effective flush volume is defined as the composite, average flush volume of two reduced flushes and one full flush. Flush volumes will be tested in accordance with ASME A112.19.2 and ASME A112.19.14.2 Kitchen faucets may temporarily increase the flow above the maximum rate, but not to exceed 2.2 gpm @ 60 psi, and must default to a maximum flow rate of 1.8 gpm @ 60 psi. **Note:** Where faucets meeting the maximum flow rate of 1.8 gpm are unavailable, aerators or other means may be used to achieve reduction. |